Keys:   W=Warning   I=Information

M=Major     D=Debug

----  Event Log listing: All Events Recorded  ----

W 08/21/06 13:13:34 chassis: Lost Communication with Slot G

I 08/21/06 13:13:34 ports: port G1 is now off-line

I 08/21/06 13:13:35 chassis: Slot G Downloading

I 08/21/06 13:13:37 chassis: Slot G Download Complete

W 08/21/06 13:13:44 chassis: Slot G Software exception at msgSys_drv.c:519 -- in

'eDrvPoll', task ID = 0x4078d990

-> Msg loss detected - no ack

I 08/21/06 13:13:58 chassis: Slot G Ready

I 08/21/06 13:14:19 ports: port G1 is now on-line

W 08/21/06 14:04:34 chassis: Lost Communication with Slot G

I 08/21/06 14:04:34 ports: port G1 is now off-line

I 08/21/06 14:04:36 chassis: Slot G Downloading

I 08/21/06 14:04:38 chassis: Slot G Download Complete

W 08/21/06 14:04:44 chassis: Slot G Software exception at msgSys_drv.c:519 -- in

'eDrvPoll', task ID = 0x4078d990

-> Msg loss detected - no ack

I 08/21/06 14:04:58 chassis: Slot G Ready

I 08/21/06 14:05:08 ports: port G1 is now on-line

W 08/21/06 14:47:25 chassis: Lost Communication with Slot G

I 08/21/06 14:47:25 ports: port G1 is now off-line

I 08/21/06 14:47:27 chassis: Slot G Downloading

I 08/21/06 14:47:29 chassis: Slot G Download Complete

W 08/21/06 14:47:35 chassis: Slot G Software exception at msgSys_drv.c:519 -- in

'eDrvPoll', task ID = 0x4078d990

-> Msg loss detected - no ack

I 08/21/06 14:47:49 chassis: Slot G Ready

I 08/21/06 14:48:10 ports: port G1 is now on-line

W 08/21/06 15:08:34 chassis: Lost Communication with Slot G

I 08/21/06 15:08:34 ports: port G1 is now off-line

I 08/21/06 15:08:35 chassis: Slot G Downloading

I 08/21/06 15:08:37 chassis: Slot G Download Complete

W 08/21/06 15:08:44 chassis: Slot G Software exception at msgSys_drv.c:519 -- in

'eDrvPoll', task ID = 0x4078d990

-> Msg loss detected - no ack

I 08/21/06 15:08:58 chassis: Slot G Ready

I 08/21/06 15:09:10 ports: port G1 is now on-line

W 08/21/06 15:13:32 chassis: Lost Communication with Slot G

I 08/21/06 15:13:32 ports: port G1 is now off-line

I 08/21/06 15:13:33 chassis: Slot G Downloading

I 08/21/06 15:13:35 chassis: Slot G Download Complete

W 08/21/06 15:13:41 chassis: Slot G Software exception at msgSys_drv.c:519 -- in

'eDrvPoll', task ID = 0x4078d990

-> Msg loss detected - no ack

I 08/21/06 15:13:56 chassis: Slot G Ready

I 08/21/06 15:14:23 ports: port G1 is now on-line

W 08/21/06 15:50:40 chassis: Lost Communication with Slot G

I 08/21/06 15:50:40 ports: port G1 is now off-line

I 08/21/06 15:50:42 chassis: Slot G Downloading

I 08/21/06 15:50:44 chassis: Slot G Download Complete

W 08/21/06 15:50:50 chassis: Slot G Software exception at msgSys_drv.c:519 -- in

'eDrvPoll', task ID = 0x4078d990

-> Msg loss detected - no ack

I 08/21/06 15:51:04 chassis: Slot G Ready

I 08/21/06 15:51:17 ports: port G1 is now on-line