Enclosure 4

l Server Blade Status qqqqqqqqqqqqqqqqwqqqqqqqqqqqqqqqwqqqqqqqqqwq001104310qqqqk
xSlotx Status                         x     Power     x A fus B x DevIdx ReqCntx
x  A x Giga Switch                    x    0W x  120W x on x -- x      x -     x
x  1 x Empty                          x       x       x on x -- x 0000 x       x
x  2 x Present                        x    0W x  332W x on x -- x 2223 x    50 x
x  3 x Empty                          x       x       x on x -- x 0000 x       x
x  4 x Present                        x    0W x  332W x on x -- x 2223 x  9768 x
x  5 x Empty                          x       x       x on x -- x 0000 x       x
x  6 x Present                        x    0W x  312W x on x -- x 2122 x 45681 x
x  7 x Present                        x    0W x  221W x on x -- x 2153 x  9818 x
x  8 x Present                        x    0W x  221W x on x -- x 2153 x  9818 x
x  9 x N/A                            x       x       x on x -- x 0000 x       x
x 10 x N/A                            x       x       x on x -- x 0000 x       x
x 11 x N/A                            x       x       x on x -- x 0000 x       x
x 12 x N/A                            x       x       x on x -- x 0000 x       x
x 13 x N/A                            x       x       x on x -- x 0000 x       x
x 14 x N/A                            x       x       x on x -- x 0000 x       x
x 15 x N/A                            x       x       x on x -- x 0000 x       x
x 16 x N/A                            x       x       x on x -- x 0000 x       x
x  B x Giga Switch                    x    0W x  120W x on x -- x      x -     x
mqqqqvqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqvqqqqqqqvqqqqqqqvqqqqvqqqqvqqqqqqvqqqqqqqj
  Faults:  0 (See Faults page)                     Backplane Temperature:  35C
  UID LED: Off     Topology:OK                                  Version: v2.40
            H=Help E=Set Serial Number F=Faults I=IP Address S=Rack Space=Redra

Enclosure 3

l Server Blade Status qqqqqqqqqqqqqqqqwqqqqqqqqqqqqqqqwqqqqqqqqqwq001103072qqqqk
xSlotx Status                         x     Power     x A fus B x DevIdx ReqCntx
x  A x Giga Switch                    x    0W x  120W x on x -- x      x -     x
x  1 x Present                        x    0W x  312W x on x -- x 2122 x  9695 x
x  2 x Present                        x    0W x  312W x on x -- x 2122 x  9695 x
x  3 x Empty                          x       x       x on x -- x 0000 x       x
x  4 x Present                        x    0W x  312W x on x -- x 2122 x  9702 x
x  5 x Empty                          x       x       x on x -- x 0000 x       x
x  6 x Empty                          x       x       x on x -- x 0000 x       x
x  7 x Present                        x    0W x  268W x on x -- x 2153 x  9734 x
x  8 x Empty                          x       x       x on x -- x 0000 x       x
x  9 x N/A                            x       x       x on x -- x 0000 x       x
x 10 x N/A                            x       x       x on x -- x 0000 x       x
x 11 x N/A                            x       x       x on x -- x 0000 x       x
x 12 x N/A                            x       x       x on x -- x 0000 x       x
x 13 x N/A                            x       x       x on x -- x 0000 x       x
x 14 x N/A                            x       x       x on x -- x 0000 x       x
x 15 x N/A                            x       x       x on x -- x 0000 x       x
x 16 x N/A                            x       x       x on x -- x 0000 x       x
x  B x Giga Switch                    x    0W x  120W x on x -- x      x -     x
mqqqqvqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqvqqqqqqqvqqqqqqqvqqqqvqqqqvqqqqqqvqqqqqqqj
  Faults:  0 (See Faults page)                     Backplane Temperature:  36C
  UID LED: Off     Topology:OK                                  Version: v2.40
            H=Help E=Set Serial Number F=Faults I=IP Address S=Rack Space=Redra

Rack Status                Server Blade Management Module Uptime:001103156
lqqqqqqqqqqqqqqqqqqqqqqqqwqqqqqqqqqqqqqqqqqqwqqqqqqqqqwqqqqqqqwqqqqqqqqqqqqqqqqk
x Description            x Serial           x         x Power x                x
x                        x Number           x         x Zone  x                x
tqqqqqqqqqqqqqqqqqqqqqqqqnqqqqqqqqqqqqqqqqqqnqqqqqqqqqnqqqqqqqnqqqqqqqqqqqqqqqqu
x Blade Enclosure        x       ********** x         x   3   x                x
x Blade Enclosure        x       ********** x         x   3   x                x
x Power Enclosure        x       ********** x         x   3   x                x
x Power Enclosure        x     **********   x         x   3   x                x
tqqqqqqqqqqqqqqqqqqqqqqqqvqqqqqqqqqqqqqqqqqqvqqqqqqqqqvqqqqqqqvqqqqqqqqqqqqqqqqu
x                                                 N/A                          x
x                                                                              x
x                                                                              x
x                                                                              x
x                                                                              x
x                                                                              x
x                                                                              x
x                                                                              x
x                                                                              x
tqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqu
x Enclosure Link Speed:   0 frames/second                                      x
mqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqq

Enclosure 2

 Redundant Status                 Power Management Module Uptime:001103264
qqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqq
 ICMB   A    BOTH   B
 1BEE   664   240   754  z-class chassis
 CCF0   936   240   268  z-class chassis
 4CBB >8721<      >8721< power chassis    lqqqqqqq redundancy key qqqqqqqqqqk
 A7A8 >8721<      >8721< power chassis    xXXXX = not PS redundant          x
                                          xXXXX = not bus bar redundant     x
                                          xXXXX = not pwr. encl. redundant  x
                                          mqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqj

Power 17442       17442 Total Power Available =        17442
ZLoad  1600        1022 Total Power Consumed =          3102
PLoad   480         480 Total Shared Power Consumed =    480
To Go 15362       15940
0        |         |         |         A         |         |         |   17442
----------
0        |         |         |         B         |         |         |   17442
-------
                  H=Help M=Main E=Set Serial Number F=Faults S=Rack Space=Redra

Enclosure 1 

Power Supply Status               Power Management Module Uptime:001103191
lqqqqwqqqqqwqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqwqqqqqqqqqwqqqqqqqqqqqqqqk
xSlotx FW  x Status: OV=Over Voltage, OC=Over Current,x  Power  x Temperature  x
x  # x Ver.x  OT=Over Temp, PFAIL=Power Supply Failed x  Used   x Input Output x
tqqqqnqqqqqnqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqnqqqqqqqqqnqqqqqqwqqqqqqqu
x  1 x 1.7 x Present - Power Good                     x    153W x  20C x   26C x
x  2 x 1.7 x Present - Power Good                     x    255W x  20C x   27C x
x  3 x 1.7 x Present - Power Good                     x    255W x  19C x   28C x
x  4 x 1.7 x Present - Power Good                     x     51W x  20C x   27C x
x  5 x 1.7 x Present - Power Good                     x    153W x  19C x   26C x
x  6 x 1.7 x Present - Power Good                     x    153W x  19C x   27C x
tqqqqvqqqqqvqqqqqqqqqqqqqqqqqqqwqqqqqqqqqqqqqqqqqqqqqqvqqqqqqqqqnqqqqqqvqqqqqqqu
x Mode: Secondary Power Source x Enclosure Power Used:    1122W x Backplane    x
x Faults:  0 (See Faults page) x Total Power information is     x Temperature  x
x UID LED: Off                 x only available in Primary or   tqqqqqqqqqqqqqqu
x Topology: OK                 x Split power source modes       x A Side:  28C x
tqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqvqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqu Center:  29C x
x                                                               x B Side:  29C x
x Press "R" for detailed redundancy info                        tqqqqqqqqqqqqqqu
x                                                               x Version:v2.40x
x                                                               x              x
mqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqqvqqqqqqqqqqqqqqj

            H=Help E=Set Serial Number F=Faults R=Redundancy S=Rack Space=Redra